## Introduction
SA Water Basic Irrigation Management Toolkit For Turf Managers
The SA Water Basic Irrigation Management Toolkit aims to provide turf managers with a simple resource that helps with the effective management of water. The toolkit can be used for recording and reporting water use. It is important to monitor your irrigation use for social, environmental and financial reasons. The toolkit consists of the following sheets;
o This simple calculator can be used to determine base irrigation requirements (in kilolitres), based on the last 9 years average ETo and long term average rainfall data, and actual irrigation requirements from the Bureau of Meteorology based on user input over an irrigation season. Built into the calculator are the variables that apply at each specific site such as soil types, climate zones etc.
o The 'Meter 1' to 'Meter 5' sheets are designed for you to enter your meter readings to track water use against best practice standards and also automatically calculates the cost of the water used.
o This sheet displays an up to date water use report and automatically populates from the meter readings that are entered. This sheet is useful when analysing how efficient your irrigation scheduling has been.
o A guide to help you email this report.
Good luck with your open space management! For more information please call Business Technical Support on 08 7424 3753
SA Water's Business Technical Support Contact Details
Phone | 08 7424 3753
Email
Web
Disclaimer:
The SA Water Irrigation Management Toolkit should be used as a guide only. Ultimately the responsibility for the volume of water that is applied to maintain turf standards lies with the turf manager. The calculator has been built based on the fundamental principles of the IPOS Code of Practice (IPOS CoP). The code has been developed using a range of information sourced from the public domain and provided by industry representatives. Every effort has been made to verify and correctly source information used to avoid errors or oversights but it is recognised that some may exist. It is also recognised that technology and management methods are changing with time and the methods used in the code are not the only viable methods to achieve the outcome of efficient irrigation management. Any proposal to use alternative water sources or recycled water may require approval from the Department of Health, the EPA and local council. For more information please contact the Department of Health on 8226 7100, the EPA on 8204 2000 or your local council. South Australian Water Corporation and its officers and employees and the Government of South Australia and its agents, instrumentalities, officers and employees: • make no representations, express or implied, as to the accuracy of the information and data contained in the SA Water Irrigation Managment Toolkit; • make no representations, express or implied, as to the accuracy or usefulness of the toolkit; • make no representations that the toolkit will operate error free; • accept no liability however arising for any loss resulting from the use of the toolkit and any information and data contained in, or derived by means of, the toolkit or from any reliance placed on the toolkit or on any such information and data; • make no representations, either expressed or implied, as to the suitability of the toolkit and of any such information and data for any particular purpose; and • accept no liability for any interference with or damage to a user's computer, software or data occurring in connection with the use of the toolkit.
Irrigation Calculator
Water Meter Use
Total Water Use
Reporting
iposadmin@sawater.com.au
https://www.sawater.com.au/business/products-and-services/irrigated-public-open-spaces-ipos

## Irrigation Calculator
SA Water Irrigation Management Calculator
Site Information
Property Name
Irrigated Area (m2) | [10 empty] | Current Irrigation Requirement
[11 empty] | Month | Eto | Rainfall
Functional Purpose |  | TQVS 3 | [8 empty] | Jul |  |  | Region | Soil Type | Functional purpose | Turf Type | Data From | Include
[11 empty] | Aug |  |  | Adelaide Apt | Sand | TQVS 1 | Warm | BIR Long term Ave | Yes
BoM Region (Weather Station) |  | Adelaide Apt | [8 empty] | Sep |  |  | Kent Town | Sandy Loam | TQVS 2 | Cool | BIR Long term Ave | No
[11 empty] | Oct |  |  | Noarlunga | Loam | TQVS 3 | Bowling Green | AIR
Distribution Uniformity |  | 80% | [8 empty] | Nov |  |  | Parafield | Clay Loam | TQVS 4
[11 empty] | Dec |  |  | Mount Crawford | Clay
Turf Type |  | Warm | [8 empty] | Jan |  |  | Current
[11 empty] | Feb |  |  | Ceduna
Soil Type |  | Sandy Loam | [8 empty] | Mar |  |  | Clare
[11 empty] | Apr |  |  | Cleve
Root Zone (mm) |  | 150 | [8 empty] | May |  |  | Cowell
[11 empty] | Jun |  |  | Edithburgh
Hindmarsh Island
Kadina
Keith
[5 empty] | Notes / Comments | [8 empty] | Kingscote
Optimal Event (mm) |  | 10.3125 |  |  | Calculations for the Base Irrigation Requirement are based on long term average rainfall (sourced from the date the station was opened through to current) and a recent average Eto (2007/08 to 2015/16) data sourced from the BoM. This data was used to achieve a guideline reflective of the current climate conditions however natural variations will occur from season to season. | [8 empty] | Kuitpo Forest
Lameroo
Soil Infiltration Rate |  | 10-18mm/hr | [11 empty] | Loxton
Minlaton
Optimal Event (kL) |  | 0 | [11 empty] | Minnipa
Mount Gambier
Select to include month→ | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No |  | Murray Bridge
Irrigation Requirement (kL) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | North Shields
| Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | TOTAL | Nuriootpa
Approximate No. of Events | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Port Augusta
Robe
Roseworthy
Snowtown
Strathalbyn
Tumby Bay
Whyalla
Wudinna
Home
Next
ETo and Rainfall data

## Data Calculation (hidden)
Irrigation Requirement Calculator
Adelaide Apt
Month | Reference Evapotranspiration (ETo) mm/month | Crop Co-efficient (Kc) | Crop Stress factor (Ks) | ETc mm/month | Rainfall (P) mm/month | Effective Rainfall factor (Pf) | Effective Rainfall (Pe) mm/month | Net Irrigation Requirement (mm/month) (In) | Application efficiency (Ea) | Base Irrigation Requirement (mm/month) (BIr) | Base Irrigation Requirement (kL per ha) (BIr)
|  |  |  | ETc=Eto x Kc x Ks |  |  | Pe = P x 0.5 | In = ETc - Pe |  | BIr (mm) = In / Ea | BIr (kL per ha) = BIr (mm) x 10
Jul | 56.7722 | 0.7 | 0.5 | 19.8703 | 59.4 | 0.5 | 29.7 | -9.8297 | 0.8 | 0 | 0
Aug | 76.4722 | 0.7 | 0.5 | 26.7653 | 50.3 | 0.5 | 25.15 | 1.6153 | 0.8 | 2.0191 | 20.191
Sep | 117.2778 | 0.7 | 0.5 | 41.0472 | 44.6 | 0.5 | 22.3 | 18.7472 | 0.8 | 23.434 | 234.3403
Oct | 162.8444 | 0.7 | 0.5 | 56.9956 | 36.6 | 0.5 | 18.3 | 38.6956 | 0.8 | 48.3694 | 483.6944
Nov | 192.0111 | 0.7 | 0.5 | 67.2039 | 24.8 | 0.5 | 12.4 | 54.8039 | 0.8 | 68.5049 | 685.0486
Dec | 219 | 0.7 | 0.5 | 76.65 | 23.4 | 0.5 | 11.7 | 64.95 | 0.8 | 81.1875 | 811.875
Jan | 233.4111 | 0.7 | 0.5 | 81.6939 | 17.5 | 0.5 | 8.75 | 72.9439 | 0.8 | 91.1799 | 911.7986
Feb | 188.2 | 0.7 | 0.5 | 65.87 | 18.9 | 0.5 | 9.45 | 56.42 | 0.8 | 70.525 | 705.25
Mar | 157.4944 | 0.7 | 0.5 | 55.1231 | 21.8 | 0.5 | 10.9 | 44.2231 | 0.8 | 55.2788 | 552.7882
Apr | 108.7778 | 0.7 | 0.5 | 38.0722 | 35.3 | 0.5 | 17.65 | 20.4222 | 0.8 | 25.5278 | 255.2778
May | 73.8778 | 0.7 | 0.5 | 25.8572 | 54.1 | 0.5 | 27.05 | -1.1928 | 0.8 | 0 | 0
Jun | 51.8222 | 0.7 | 0.5 | 18.1378 | 56.2 | 0.5 | 28.1 | -9.9622 | 0.8 | 0 | 0
Total (annual) | 1637.9611 |  |  | 573.2864 | 442.9 |  | 221.45 | 351.8364 |  | 466.0264 | 4660.2639
Optimum Irrigation Event | WHC (mm/m) | OIE
Sand | 0.06 | 5.625
Sandy Loam | 0.11 | 10.3125
Loam | 0.15 | 14.0625
Clay Loam | 0.18 | 16.875
Clay | 0.15 | 14.0625
Data entry
Eto is calculated using 9 Year Average Data
Weather Stations
| Adelaide Apt | Kent Town | Noarlunga | Parafield | Mount Crawford | Current | Ceduna | Clare | Cleve | Cowell | Edithburgh | Hindmarsh Island | Kadina | Keith | Kingscote | Kuitpo Forest | Lameroo | Loxton | Minlaton | Minnipa | Mount Gambier | Murray Bridge | North Shields | Nuriootpa | Port Augusta | Robe | Roseworthy | Snowtown | Strathalbyn | Tumby Bay | Whyalla | Wudinna | CEDUNA_AMO_18012
Eto Lookup Table | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | Ref Eto mm/month | CLARE_HIGH_SCHOOL_021131
Jul | 56.7722 | 49.6889 | 54.7889 | 51.2556 | 39.5444 | 0 | 77.7556 | 38.2778 | 67.7222 | 56.1778 | 52.6056 | 61.5111 | 52.5722 | 44.7222 | 46.6444 | 41.7 | 48.7 | 53.5667 | 52.6778 | 70.07 | 40.5667 | 55.2389 | 55.1722 | 44.7444 | 71.0778 | 44.7056 | 54.2111 | 53.0444 | 56.0944 | 55.1722 | 70.4556 | 65.8 | CLEVE_AERODROME 018116
Aug | 76.4722 | 69.2778 | 73.65 | 70.6 | 57.0167 | 0 | 102.9389 | 55.3333 | 90.1 | 72.0833 | 68.1444 | 78.4889 | 74.6889 | 60.3944 | 62.6222 | 57.3167 | 70.9944 | 79.8556 | 70.1444 | 90.9233 | 58.0389 | 77.9611 | 72.0611 | 63.8167 | 105.8722 | 62.7111 | 70.7167 | 73.05 | 74.3611 | 72.0611 | 95.7944 | 89.8778 | COONAWARRA_2005_2010
Sep | 117.2778 | 108.4667 | 111.2667 | 116.0556 | 93.7778 | 0 | 159.0444 | 92.6833 | 136.4333 | 104.3333 | 102.9944 | 114.5056 | 119.9444 | 94.4444 | 87.3278 | 90.0556 | 115.8778 | 122.3222 | 111.1444 | 147.8722 | 84.8167 | 117.6222 | 103.4556 | 101.7111 | 165.3222 | 89.0167 | 116.1611 | 120.5778 | 106.4056 | 103.4556 | 145.6111 | 144.65 | CUMMINS_AERO_2005_2010
Oct | 162.8444 | 151.3 | 157.5556 | 166.7167 | 140.3778 | 0 | 204.4333 | 142.0222 | 182.4222 | 151.1333 | 153.1444 | 154.6778 | 177.5778 | 149.6333 | 126.6444 | 133.0556 | 176.4889 | 170.8556 | 168.7222 | 203.5333 | 121.6111 | 171.4556 | 144.8556 | 155.8778 | 222.3333 | 122.2111 | 175.6444 | 185.1333 | 133.93 | 144.8556 | 188.6556 | 200.3889 | EDITHBURGH 022046
Nov | 192.0111 | 182.9333 | 183.8222 | 203.4222 | 180.8278 | 0 | 218.15 | 172.9556 | 204.6889 | 178.3111 | 174.7 | 170.1278 | 218.1611 | 187.7 | 161.0556 | 160.35 | 214.0167 | 200.0444 | 203.0889 | 237.85 | 148.1167 | 203.3167 | 164.7833 | 187.8167 | 252.6889 | 143.3333 | 211.6611 | 217.1333 | 180.2944 | 164.7833 | 213.0778 | 227.6889 | ERNABELLA_(PUKATJA)_2005_2010
Dec | 219 | 208.3944 | 211.9056 | 229.6778 | 210.2278 | 0 | 237.9 | 202.2111 | 226.8389 | 199.9444 | 197.3889 | 191.4111 | 244.6833 | 218.1222 | 188.4944 | 186.7222 | 244.6667 | 230.1778 | 232.9444 | 261.95 | 183.2 | 240.0056 | 193.0111 | 211.2063 | 281.9444 | 170.5278 | 243.8 | 249.1333 | 205.3167 | 193.0111 | 234.55 | 257.6833 | HINDMARSH_ISLAND_AWS 2007_2012
Jan | 233.4111 | 220.6444 | 230.0222 | 243.55 | 233.55 | 0 | 234.2667 | 227.0444 | 237.2 | 214.3667 | 205.4778 | 199.2111 | 266.9444 | 235.3611 | 201.2611 | 202.4778 | 267.25 | 242.6111 | 253.0722 | 274.7444 | 197.2333 | 243.85 | 204.8889 | 235.5375 | 302.25 | 178.8667 | 259.9 | 265.9222 | 217.3889 | 204.8889 | 251.5444 | 274.8222 | KADINA_AWS_22050
Feb | 188.2 | 173.7667 | 184.1222 | 199.4778 | 184.5778 | 0 | 188.9889 | 172.4222 | 182.6333 | 169.1556 | 159.4667 | 154.7722 | 213.4056 | 187.2 | 154.5444 | 159.6444 | 213.0389 | 195.8556 | 199.5333 | 213.0667 | 157.2667 | 191.6667 | 156.0667 | 185.2611 | 243.8722 | 142.1111 | 206.4333 | 211.9889 | 166.7222 | 156.0667 | 197.9778 | 213.7778 | KEITH_(MUNKORA)_025557
Mar | 157.4944 | 143.1667 | 153.6778 | 162.0722 | 148.1111 | 0 | 172.4222 | 138.6333 | 162.5 | 148.6722 | 144 | 144.1278 | 167.5722 | 154.2556 | 130.25 | 135.7556 | 175.4944 | 159 | 171.5778 | 181.1444 | 132.2667 | 163.1444 | 139.5889 | 150.2889 | 202.9667 | 120.7 | 175.3222 | 162.8444 | 147.2444 | 139.5889 | 170.3222 | 176.4556 | KINGSCOTE_AERO_22841
Apr | 108.7778 | 93.8222 | 105.6111 | 110.7667 | 96.6667 | 0 | 129.9333 | 89.2556 | 121.8111 | 107.4111 | 101.8222 | 106.1778 | 123.5556 | 96.3222 | 86.4 | 88.4111 | 112.0667 | 99.6222 | 119.0222 | 127.3 | 80.5611 | 108.4889 | 102.5722 | 97.2722 | 140.6556 | 80.3556 | 122.0667 | 124.5778 | 102 | 102.5722 | 120.7222 | 126.1 | KUITPO_FOREST_RESERVE_23887
May | 73.8778 | 59.7111 | 70.5889 | 70.0278 | 58.5 | 0 | 93.5778 | 53.0222 | 89.8667 | 68.5222 | 71.2111 | 75.5333 | 76.5333 | 64.0111 | 56.5222 | 55.2889 | 72.2667 | 66.7333 | 79.6556 | 87.8111 | 47.1111 | 73.7444 | 74.2944 | 61.2667 | 90.5778 | 55.4667 | 84 | 82.3556 | 70.6222 | 74.2944 | 83.0333 | 89.6667 | LAMEROO_(AUSTIN_PLAINS) 25562
Jun | 51.8222 | 41.8333 | 48.6167 | 46.2056 | 35.3278 | 0 | 67.1944 | 34.1333 | 59.4889 | 52.0944 | 49.65 | 53.8167 | 50.05 | 42.2944 | 41.5 | 37.0444 | 47.2667 | 46.4833 | 50.9056 | 59.8278 | 34.5667 | 50.8944 | 52.0111 | 39.5333 | 61.0556 | 38.9389 | 52.85 | 49.4944 | 49.7944 | 52.0111 | 56.7722 | 59.3 | LEIGH_CREEK_AIRPORT_2005_2010
| 1637.9611 | 1503.0056 | 1585.6278 | 1669.8278 | 1478.5056 | 0 | 1886.6056 | 1417.9944 | 1761.7056 | 1522.2056 | 1480.6056 | 1504.3611 | 1785.6889 | 1534.4611 | 1343.2667 | 1347.8222 | 1758.1278 | 1667.1278 | 1712.4889 | 1956.0933 | 1285.3556 | 1697.3889 | 1462.7611 | 1534.3326 | 2140.6167 | 1248.9444 | 1772.7667 | 1795.2556 | 1510.1744 | 1462.7611 | 1828.5167 | 1926.2111 | LOXTON_RESEARCH_CENTRE 2007_2012
MINLATON_AERO_022031
Rainfall is calculated using longterm averages | [32 empty] | MINNIPA_PIRSA_18195
| Adelaide Apt | Kent Town | Noarlunga | Parafield | Mount Crawford | Current | Ceduna | Clare | Cleve | Cowell | Edithburgh | Hindmarsh Island | Kadina | Keith | Kingscote | Kuitpo Forest | Lameroo | Loxton | Minlaton | Minnipa | Mount Gambier | Murray Bridge | North Shields | Nuriootpa | Port Augusta | Robe | Roseworthy | Snowtown | Strathalbyn | Tumby Bay | Whyalla | Wudinna | MOUNT_GAMBIER_AERO_2007_2012
Rainfall Lookup Table | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | Rainfall (P) mm/month | MURRAY_BRIDGE_(PALLAMANA_AERODROME) 24584
Jul | 59.4 | 76.5 | 62.2 | 58.9 | 116.9 | 0 | 39.6 | 66.8 | 43.7 | 25.7 | 46.8 | 61.6 | 34.8 | 53.4 | 66.2 | 107.5 | 31.6 | 27.7 | 48.2 | 36.2 | 99.4 | 38.1 | 70.2 | 55.1 | 18.2 | 103.9 | 51.2 | 41.5 | 51.5 | 46.5 | 23.4 | 36.7 | NARACOORTE_AERODROME_2005_2010
Aug | 50.3 | 67.5 | 49.3 | 53.4 | 103.4 | 0 | 33.9 | 64.7 | 43.4 | 26.4 | 45.5 | 55.4 | 29.2 | 51.7 | 56.1 | 86.1 | 33.3 | 26.3 | 41.7 | 37.6 | 95.2 | 40.6 | 60.2 | 54 | 14.6 | 85.6 | 53.5 | 40.6 | 50.4 | 42.5 | 21.2 | 34.7 | NORTH_SHIELDS_(PORT_LINCOLN_AWS)_2007_2012
Sep | 44.6 | 57.9 | 45.1 | 43.5 | 82.9 | 0 | 27.1 | 56 | 35.9 | 28.3 | 40.9 | 47.9 | 31.6 | 36.7 | 44 | 69.8 | 27.2 | 26.4 | 34.9 | 27.3 | 71.6 | 38.9 | 43.4 | 54.9 | 17.4 | 58.8 | 48 | 36.6 | 45 | 35.9 | 25.7 | 25.3 | NURIOOTPA_VITICULTURAL 2007_2012
Oct | 36.6 | 41.8 | 32.7 | 40.8 | 65.8 | 0 | 25 | 47 | 28.4 | 27.7 | 27.8 | 39.4 | 22.1 | 26.3 | 30 | 51.4 | 18.6 | 25.2 | 24.5 | 21 | 61.3 | 32 | 29.8 | 36 | 17.4 | 44.1 | 42.5 | 28.3 | 34.6 | 27.5 | 23.7 | 20.2 | PADTHAWAY_SOUTH_2005_2010
Nov | 24.8 | 30.1 | 23 | 26.2 | 36.7 | 0 | 19.3 | 36 | 20.6 | 20.2 | 17.5 | 27.5 | 14.7 | 28.4 | 22 | 35.4 | 27 | 20.9 | 24.5 | 15.7 | 46.5 | 23.6 | 20.1 | 31.7 | 20.6 | 30.3 | 28 | 27.3 | 25.2 | 20.9 | 20.2 | 13.8 | PARAWA_(SECOND_VALLEY_FOREST_AWS) 2005_2010
Dec | 23.4 | 28 | 19.3 | 24.5 | 34.8 | 0 | 20.5 | 36.4 | 23.5 | 17.7 | 17.1 | 22.6 | 27.9 | 33 | 19.3 | 33.2 | 30.7 | 24.9 | 21.3 | 19.4 | 38.4 | 23.9 | 20.4 | 35.2 | 23.9 | 27.9 | 24.5 | 25.2 | 20.9 | 19.7 | 23.8 | 18.1 | PORT_AUGUSTA_AERO 200001
Jan | 17.5 | 19.4 | 16.5 | 21 | 24.5 | 0 | 11.6 | 21.8 | 15.3 | 14.3 | 11.8 | 19.4 | 12 | 19.9 | 14.4 | 22.9 | 29.9 | 18.5 | 12.6 | 9.4 | 27.2 | 16.3 | 10.2 | 15.8 | 12.4 | 20.1 | 19.6 | 14.1 | 15.8 | 11.6 | 16.3 | 11.6 | RENMARK_AERO_2005_2010
Feb | 18.9 | 15.4 | 19 | 18.9 | 23.7 | 0 | 14.1 | 26.1 | 19.1 | 18.2 | 17.9 | 19.9 | 12.8 | 11.6 | 16.2 | 24 | 12 | 19.3 | 19.1 | 12.8 | 25.6 | 19.4 | 12.7 | 26.8 | 18.4 | 18.6 | 18.3 | 21.6 | 22.2 | 16.5 | 24.2 | 15.8 | ROBE BOM data 5 years
Mar | 21.8 | 26.4 | 22.4 | 22.5 | 27.5 | 0 | 16.1 | 25.6 | 21.8 | 17.9 | 18.2 | 21.8 | 34.6 | 18.6 | 25.8 | 37.3 | 20.2 | 12.4 | 17.7 | 21.1 | 35.3 | 19.4 | 18.3 | 28.1 | 17 | 26.7 | 21.3 | 18.9 | 18.9 | 14.7 | 19.4 | 18.6 | ROSEWORTHY_023021
Apr | 35.3 | 40.3 | 33.9 | 39.4 | 53.3 | 0 | 19.9 | 40.8 | 26.1 | 25.3 | 25.1 | 37.1 | 33.6 | 24.4 | 27.7 | 60.2 | 27.7 | 17.9 | 25.9 | 16.5 | 54.9 | 26.8 | 28.8 | 36 | 18.9 | 46 | 36.6 | 26.6 | 29.4 | 23.7 | 21.5 | 18 | ROXBY_DOWNS_(OLYMPIC_DAM_AERODROME) 200001
May | 54.1 | 60.3 | 54.7 | 48.2 | 88.9 | 0 | 32.8 | 51.7 | 38.4 | 29.6 | 44.7 | 53.5 | 43 | 37.6 | 47.3 | 87.1 | 26.9 | 22.9 | 39.7 | 27.4 | 71.1 | 34.3 | 45.5 | 46.5 | 15.4 | 73 | 47.8 | 36.4 | 43.2 | 34.1 | 24.2 | 23.5 | SNOWTOWN_(RAYVILLE_PARK)_2006_2011
Jun | 56.2 | 78.3 | 64.6 | 54 | 97.9 | 0 | 35.6 | 68 | 43.8 | 29.5 | 58.4 | 61.5 | 40.9 | 51.8 | 66.7 | 107.6 | 27.2 | 25.3 | 55 | 37 | 83.8 | 39.4 | 60.1 | 54.8 | 24.7 | 49.9 | 54.1 | 51.1 | 52.9 | 44.6 | 27.8 | 35.5 | STENHOUSE_BAY_2005_2010
| 442.9 | 541.9 | 442.7 | 451.3 | 756.3 | 0 | 295.5 | 540.9 | 360 | 280.8 | 371.7 | 467.6 | 337.2 | 393.4 | 435.7 | 722.5 | 312.3 | 267.7 | 365.1 | 281.4 | 710.3 | 352.7 | 419.7 | 474.9 | 218.9 | #REF! | 445.4 | 368.2 | 410 | 338.2 | 271.4 | 271.8 | STRATHALBYN_RACECOURSE 24580
OODNADATTA 2005 - 2010
WHYALLA_AERO 018120
WUDINNA 07-12
FOR BUFFERING PURPOSE
Cowell_018022
Tumby Bay
Note on AB38: pe001902: Last years calculations based on data sourced from Roseworthy AWS however Roseworthy station has current data and is closer
Note on AB55: pe001902: Last years calculations based on data sourced from Roseworthy AWS however Roseworthy station has current data and is closer

## Water Use Meter 1
Water Use Recording Sheet - Meter 1
Permit reference number
Meter number
% water for irrigation purposes |  |  | 100%
Price water per kL
Month | Meter Read kL |  | BIr (Base Irrigation Requirement) kL | Actual Irrigation water use kL | Approx monthly Cost | Month
Start read
End Jul | [5 empty] | July
End Aug | [5 empty] | August
End Sep | [5 empty] | September
End Oct | [5 empty] | October
End Nov | [5 empty] | November
End Dec | [5 empty] | December
End Jan | [5 empty] | January
End Feb | [5 empty] | February
End Mar | [5 empty] | March
End Apr | [5 empty] | April
End May | [5 empty] | May
End Jun | [5 empty] | June
Total |  |  | 0 | 0 | 0
Notes/Comments
0%
5%
10%
15%
20%
25%
| Disclaimer: Please note costing is indicative only and should be cross referenced with billing information- Information given in this worksheet should be used as a guide only. Bear in mind other costs such as sewerage, service charges and levies have been excluded. Please refer to the website for further information. | [5 empty] | 30%
35%
40%
45%
50%
55%
60%
65%
70%
75%
80%
85%
90%
95%
100%
[9 empty] | Month | BIr (Base Irrigation Requirement) kL | Actual Irrigation water use kL
[9 empty] | Jul | 0
[9 empty] | Aug | 0
[9 empty] | Sep | 0
[9 empty] | Oct | 0
[9 empty] | Nov | 0
[9 empty] | Dec | 0
[9 empty] | Jan | 0
[9 empty] | Feb | 0
[9 empty] | Mar | 0
[9 empty] | Apr | 0
[8 empty] | 1 | May | 0
[8 empty] | 0 | Jun | 0
2.75
Water Budget
| % Irrigation |  | 1
Back
Next
Home
Total
SA Water Pricing information

## Water Use Meter 2
Water Use Recording Sheet - Meter 2
Permit reference number
Meter number
% water for irrigation purposes |  |  | 100%
Price water per kL
Month | Meter Read kL |  | BIr (Base Irrigation Requirement) kL | Actual Irrigation water use kL | Approx monthly Cost | Month
Start read
End Jul | [5 empty] | July
End Aug | [5 empty] | August
End Sep | [5 empty] | September
End Oct | [5 empty] | October
End Nov | [5 empty] | November
End Dec | [5 empty] | December
End Jan | [5 empty] | January
End Feb | [5 empty] | February
End Mar | [5 empty] | March
End Apr | [5 empty] | April
End May | [5 empty] | May
End Jun | [5 empty] | June
Total |  |  | 0 | 0 | 0
Notes/Comments
0%
5%
10%
15%
20%
25%
| Disclaimer: Please note costing is indicative only and should be cross referenced with billing information- Information given in this worksheet should be used as a guide only. Bear in mind other costs such as sewerage, service charges and levies have been excluded. Please refer to the website for further information. | [5 empty] | 30%
35%
40%
45%
50%
55%
60%
65%
70%
75%
80%
85%
90%
95%
100%
[8 empty] | Month | BIr (Base Irrigation Requirement) kL | Actual Irrigation water use kL
[8 empty] | Jul | 0
[8 empty] | Aug | 0
[8 empty] | Sep | 0
[8 empty] | Oct | 0
[8 empty] | Nov | 0
[8 empty] | Dec | 0
[8 empty] | Jan | 0
[8 empty] | Feb | 0
[8 empty] | Mar | 0
[8 empty] | Apr | 0
[7 empty] | 1 | May | 0
[7 empty] | 0 | Jun | 0
2.75
Water Budget
% Irrigation | 1
Back
Next
Home
Total
SA Water Pricing information

## Water Use Meter 3
Water Use Recording Sheet - Meter 3
Permit reference number
Meter number
% water for irrigation purposes |  |  | 100%
Price water per kL
Month | Meter Read kL |  | BIr (Base Irrigation Requirement) kL | Actual Irrigation water use kL | Approx monthly Cost | Month
Start read
End Jul | [5 empty] | July
End Aug | [5 empty] | August
End Sep | [5 empty] | September
End Oct | [5 empty] | October
End Nov | [5 empty] | November
End Dec | [5 empty] | December
End Jan | [5 empty] | January
End Feb | [5 empty] | February
End Mar | [5 empty] | March
End Apr | [5 empty] | April
End May | [5 empty] | May
End Jun | [5 empty] | June
Total |  |  | 0 | 0 | 0
Notes/Comments
0%
5%
10%
15%
20%
25%
| Disclaimer: Please note costing is indicative only and should be cross referenced with billing information- Information given in this worksheet should be used as a guide only. Bear in mind other costs such as sewerage, service charges and levies have been excluded. Please refer to the website for further information. | [5 empty] | 30%
35%
40%
45%
50%
55%
60%
65%
70%
75%
80%
85%
90%
95%
100%
[8 empty] | Month | BIr (Base Irrigation Requirement) kL | Actual Irrigation water use kL
[8 empty] | Jul | 0
[8 empty] | Aug | 0
[8 empty] | Sep | 0
[8 empty] | Oct | 0
[8 empty] | Nov | 0
[8 empty] | Dec | 0
[8 empty] | Jan | 0
[8 empty] | Feb | 0
|  | Water Budget | [5 empty] | Mar | 0
[8 empty] | Apr | 0
[7 empty] | 1 | May | 0
[7 empty] | 0 | Jun | 0
2.75
% Irrigation | 1
Back
Next
Home
Total
SA Water Pricing information

## Water Use Meter 4
Water Use Recording Sheet - Meter 4
Permit reference number
Meter number
% water for irrigation purposes |  |  | 100%
Price water per kL
Month | Meter Read kL |  | BIr (Base Irrigation Requirement) kL | Actual Irrigation water use kL | Approx monthly Cost | Month
Start read
End Jul | [5 empty] | July
End Aug | [5 empty] | August
End Sep | [5 empty] | September
End Oct | [5 empty] | October
End Nov | [5 empty] | November
End Dec | [5 empty] | December
End Jan | [5 empty] | January
End Feb | [5 empty] | February
End Mar | [5 empty] | March
End Apr | [5 empty] | April
End May | [5 empty] | May
End Jun | [5 empty] | June
Total |  |  | 0 | 0 | 0
Notes/Comments
0%
5%
10%
| Disclaimer: Please note costing is indicative only and should be cross referenced with billing information- Information given in this worksheet should be used as a guide only. Bear in mind other costs such as sewerage, service charges and levies have been excluded. Please refer to the website for further information. | [5 empty] | 15%
20%
25%
30%
35%
40%
45%
50%
55%
60%
65%
70%
75%
80%
85%
90%
95%
100%
[8 empty] | Month | BIr (Base Irrigation Requirement) kL | Actual Irrigation water use kL
[8 empty] | Jul | 0
[8 empty] | Aug | 0
[8 empty] | Sep | 0
[8 empty] | Oct | 0
[8 empty] | Nov | 0
[8 empty] | Dec | 0
[8 empty] | Jan | 0
[8 empty] | Feb | 0
[8 empty] | Mar | 0
[8 empty] | Apr | 0
[7 empty] | 1 | May | 0
[7 empty] | 0 | Jun | 0
2.75
Water Budget
% Irrigation | 1
Back
Next
Home
Total
SA Water Pricing information

## Water Use Meter 5
Water Use Recording Sheet - Meter 5
Permit reference number
Meter number
% water for irrigation purposes |  |  | 100%
Price water per kL
Month | Meter Read kL |  | BIr (Base Irrigation Requirement) kL | Actual Irrigation water use kL | Approx monthly Cost | Month
Start read
End Jul | [5 empty] | July
End Aug | [5 empty] | August
End Sep | [5 empty] | September
End Oct | [5 empty] | October
End Nov | [5 empty] | November
End Dec | [5 empty] | December
End Jan | [5 empty] | January
End Feb | [5 empty] | February
End Mar | [5 empty] | March
End Apr | [5 empty] | April
End May | [5 empty] | May
End Jun | [5 empty] | June
Total |  |  | 0 | 0 | 0
Notes/Comments
0%
5%
10%
| Disclaimer: Please note costing is indicative only and should be cross referenced with billing information- Information given in this worksheet should be used as a guide only. Bear in mind other costs such as sewerage, service charges and levies have been excluded. Please refer to the website for further information. | [5 empty] | 15%
20%
25%
30%
35%
40%
45%
50%
55%
60%
65%
70%
75%
80%
85%
90%
95%
100%
[8 empty] | Month | BIr (Base Irrigation Requirement) kL | Actual Irrigation water use kL
[8 empty] | Jul | 0
[8 empty] | Aug | 0
[8 empty] | Sep | 0
[8 empty] | Oct | 0
[8 empty] | Nov | 0
[8 empty] | Dec | 0
[8 empty] | Jan | 0
[8 empty] | Feb | 0
[8 empty] | Mar | 0
[8 empty] | Apr | 0
[7 empty] | 1 | May | 0
[7 empty] | 0 | Jun | 0
2.75
Water Budget
% Irrigation | 1
Back
Total
Home
SA Water Pricing information

## Total Water Use
Total Water Use | [10 empty] | 2.75
Month | BIr (Base Irrigation Requirement) kL | Actual Irrigation water use kL | Approx monthly Cost | [8 empty] | 0
July | 0 | 0 | 0 |  | July |  |  |  |  | Jul
August | 0 | 0 | 0 |  | August |  |  |  |  | Aug
September | 0 | 0 | 0 |  | September |  |  |  |  | Sep
October | 0 | 0 | 0 |  | October |  |  |  |  | Oct
November | 0 | 0 | 0 |  | November |  |  |  |  | Nov
December | 0 | 0 | 0 |  | December |  |  |  |  | Dec
January | 0 | 0 | 0 |  | January |  |  |  |  | Jan
February | 0 | 0 | 0 |  | February |  |  |  |  | Feb
March | 0 | 0 | 0 |  | March |  |  |  |  | Mar
April | 0 | 0 | 0 |  | April |  |  |  |  | Apr
May | 0 | 0 | 0 |  | May |  |  |  |  | May
June | 0 | 0 | 0 |  | June |  |  |  |  | Jun
Totals | 0 | 0 | 0
[5 empty] | Approx Total Combined Meter Water Use kL = |  |  | 0
[5 empty] | Approx Total Combined Meter Water Use Cost = |  |  | 0
Notes/Comments
Disclaimer: Please note costing information is indicative only and should be cross referenced with billing information- Costing information given in this worksheet should be used as a guide only. The 'total combined water meter cost' is this sheet represents all water used and the cost of this water. Bear in mind other costs such as sewerage, service charges and levies have been excluded from this . Please refer to the website for further information regarding pricing.
[5 empty] | % Total Consumption |  | Cost
|  |  |  | Meter 1 | 0 |  | 0
|  |  |  | Meter 2 | 0 |  | 0
|  |  |  | Meter 3 | 0 |  | 0
|  |  |  | Meter 4 | 0 |  | 0
|  |  |  | Meter 5 | 0 |  | 0
Table for total Air IPOS consumption per month
[5 empty] | Meter 1 | Meter 2 | Meter 3 | Meter 4 | Meter 5
|  |  |  | July | 0 | 0 | 0 | 0 | 0
|  |  |  | August | 0 | 0 | 0 | 0 | 0
|  |  |  | September | 0 | 0 | 0 | 0 | 0
|  |  |  | October | 0 | 0 | 0 | 0 | 0
|  |  |  | November | 0 | 0 | 0 | 0 | 0
|  |  |  | December | 0 | 0 | 0 | 0 | 0
|  |  |  | January | 0 | 0 | 0 | 0 | 0
|  |  |  | February | 0 | 0 | 0 | 0 | 0
|  |  |  | March | 0 | 0 | 0 | 0 | 0
|  |  |  | April | 0 | 0 | 0 | 0 | 0
|  |  |  | May | 0 | 0 | 0 | 0 | 0
Table for total IPOS consumption cost per month
[5 empty] | Meter 1 | Meter 2 | Meter 3 | Meter 4 | Meter 5
|  |  |  | July | 0 | 0 | 0 | 0 | 0
|  |  |  | August | 0 | 0 | 0 | 0 | 0
|  |  |  | September | 0 | 0 | 0 | 0 | 0
|  |  |  | October | 0 | 0 | 0 | 0 | 0
|  |  |  | November | 0 | 0 | 0 | 0 | 0
|  |  |  | December | 0 | 0 | 0 | 0 | 0
|  |  |  | January | 0 | 0 | 0 | 0 | 0
|  |  |  | February | 0 | 0 | 0 | 0 | 0
|  |  |  | March | 0 | 0 | 0 | 0 | 0
|  |  |  | April | 0 | 0 | 0 | 0 | 0
|  |  |  | May | 0 | 0 | 0 | 0 | 0
Home
Back
Next